## Read me
Pharma and life sciences supplier self-assessment
Free template by EvaluationsHub · evaluationshub.com
What it is | A self-assessment for suppliers of materials, components and services to regulated pharma, biotech and medical device manufacturers, covering GMP, quality agreements, change control, data integrity and distribution.
Lifecycle stage | Onboarding and qualification
How to use it
Step 1 | Send the Questionnaire sheet to the supplier. They answer every question in column D with Yes, Partly, No or N.A., and add evidence in column E.
Step 2 | Yes scores 2, Partly scores 1, No scores 0. N.A. is left out of the calculation.
Step 3 | The Summary sheet shows a score per section, an overall score and a rating. The rating stays In progress until every question is answered.
Step 4 | Treat any No on a question marked Critical as a finding to follow up, whatever the overall score.
Legend
Yellow cell | You fill this in (blue text = your input).
White cell | Calculated by a formula. Do not overwrite.
Example row | Realistic sample values showing the expected format. Replace or delete.
Important | Aligned with common GMP and GDP expectations. It is not a qualification audit and does not replace your supplier qualification procedure, quality agreement or on-site audit. Rating thresholds are examples.
Run this in EvaluationsHub
Open this template in a free sandbox: https://evaluationshub.co/?utm_source=evaluationshub.com&utm_medium=template-xlsx&utm_campaign=pharma-life-sciences-supplier-survey#/signup
Note | This template is a starting point. Adjust weights, thresholds and questions to your own policy. EvaluationsHub automates sending, chasing, scoring and follow-up.

## Questionnaire
Supplier self-assessment
Answer in column D. Add evidence or a document reference in column E. Grey columns are calculated.
Supplier name |  |  | Example: Nordlys Excipients AS
Site address |  |  | Example: Industriveien 4, Drammen, Norway
Contact name and role |  |  | Example: Ingrid Holm, QA manager
Date completed |  |  | Example: 2026-11-10
No. | Section | Question | Answer | Evidence or comment | Criticality | Points | Max points | Critical gap
1.1 | Quality system and certification | Do you operate a quality management system that meets GMP requirements for the products you supply (or ISO 13485 for medical devices)? | Yes | GMP certificate from national authority, last inspection March 2026, no critical observations | Critical | 2 | 2
1.2 | Quality system and certification | Have you been inspected by a regulatory authority in the last three years, and can you share the outcome? |  |  | Standard
1.3 | Quality system and certification | Will you sign a quality agreement defining responsibilities for quality and compliance? |  |  | Critical
2.1 | Change control and deviations | Do you notify us in advance of changes to materials, process, site or specifications? |  |  | Critical
2.2 | Change control and deviations | Do you investigate deviations and out-of-specification results with root cause analysis? |  |  | Critical
2.3 | Change control and deviations | Do you run a CAPA process with effectiveness checks? |  |  | Standard
3.1 | Data integrity and computerised systems | Do your records meet data integrity principles (attributable, legible, contemporaneous, original, accurate)? |  |  | Critical
3.2 | Data integrity and computerised systems | Are computerised systems that affect product quality validated? |  |  | Standard
3.3 | Data integrity and computerised systems | Do you control audit trails and user access on GMP systems? |  |  | Standard
4.1 | Materials, testing and release | Do you test each batch against the agreed specification and issue a certificate of analysis? |  |  | Critical
4.2 | Materials, testing and release | Do you qualify your own suppliers of starting materials? |  |  | Standard
4.3 | Materials, testing and release | Do you hold TSE/BSE, residual solvents and elemental impurities statements where relevant? |  |  | Standard
4.4 | Materials, testing and release | Do you retain reference and retention samples for the agreed period? |  |  | Standard
5.1 | Storage and distribution | Do you store and ship in line with Good Distribution Practice where it applies? |  |  | Standard
5.2 | Storage and distribution | Do you control and record temperature for sensitive products throughout transport? |  |  | Critical
5.3 | Storage and distribution | Do you have measures against counterfeit and falsified products? |  |  | Standard
6.1 | Business continuity and capacity | Do you have a business continuity plan covering single-source materials and key equipment? |  |  | Critical
6.2 | Business continuity and capacity | Can you give advance notice of supply shortages or discontinuation? |  |  | Standard
7.1 | ESG and ethics | Have you signed or adopted a supplier code of conduct covering ethics, labour and environment? |  |  | Critical
7.2 | ESG and ethics | Do you measure greenhouse gas emissions and have reduction targets? |  |  | Standard
7.3 | ESG and ethics | Do you have an anti-bribery and corruption policy with training? |  |  | Standard
Row 9 is filled in as an example. Overwrite it with your own answer.

## Summary
Assessment summary
Calculated from the Questionnaire sheet.
Section | Answered | Points | Max points | Score | Critical gaps
Quality system and certification | 1 of 3 | 2 | 2 | 100% | 0
Change control and deviations | 0 of 3 | 0 | 0 |  | 0
Data integrity and computerised systems | 0 of 3 | 0 | 0 |  | 0
Materials, testing and release | 0 of 4 | 0 | 0 |  | 0
Storage and distribution | 0 of 3 | 0 | 0 |  | 0
Business continuity and capacity | 0 of 2 | 0 | 0 |  | 0
ESG and ethics | 0 of 3 | 0 | 0 |  | 0
Overall | 1 of 21 | 2 | 2 | 100% | 0
Rating | In progress: 20 questions unanswered
Rating thresholds (editable) | From score
Approved | 85%
Approved with improvement plan | 60%
Not approved: below the lower threshold. Any critical gap makes the rating conditional.